## Sheet1
Location | pH Value | Water Temp | Electrical Conductivity | Total Dissolve Solids | Salinity | Turbidity | Water Size | Land Availability Near Water Body for Supporting Infrastructure | Proximity of Land Availability to Water | Wind Speed | Water Current | Max Solar Value | Atmospheric Temperature | Anchor Point availability | Distance of anchor point to Water | Access road availability | Distance to access road | Type of access road | Accessible for heavy equipment | Available Grid Capacity (MVA) | Energy Demand (MW) | Predominant Consumption Type (R,C,I) or Mixed | Proximity to nearest substation | Availability of Grid Connection | How safe is the environment | Incidence of Vandalism/Theft | Is water body close to Schools? Healtcare Centers? Other strategic locations that increase viability, attract fi0ncing and promote renewable deployments
Okeira Kekere | 7.61 | 27.6 | 691.8 | 349.5 | 0.35 | 52.8 | 10000 | 568.37 | 15.5 | 0.8 | 0.0816 | 409.7 | 29.1 | 0 | 0 | 1 | 107.96 | 0 | 1 | 150 | 63.72 | 0 | 1541.8384 | 1 | 5 | 0 | 0
Akoka | 6.56 | 29.4 | 878.7 | 442.5 | 0.45 | 64.9 | 10000 | 376.6 | 10.5 | 0.3 | 0.091 | 780 | 35.7 | 0.5 | 0 | 1 | 85.22 | 1 | 1 | 30 | 50.3 | 1 | 576.9986 | 1 | 5 | 0 | 1
AGO | 6.8 | 26.8 | 694.7 | 349.5 | 0.35 | 10.02 | 450000 | 262.922 | 23 | 0.6 | 0.0595 | 410.3 | 29.8 | 0 | 0 | 1 | 28.2 | 0 | 1 | 60 | 18.84 | 0 | 651.016 | 1 | 2 | 0 | 0
Festac | 6.9 | 27.1 | 2470 | 1245 | 1.2 | 13.5 | 5000 | 240.433 | 10 | 2.4 | 0.0621 | 829.1 | 30.2 | 1 | 60 | 1 | 25 | 1 | 1 | 60 | 20.6429 | 1 | 487.4921 | 1 | 5 | 0 | 1
S0ke Island | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
Ilase | 7.7 | 28.4 | 5284 | 2762 | 8.37 | 170 | 5000 | 215 | 22 | 2.9 | 0.16 | 414 | 30.9 | 1 | 23.2 | 0 | 0 | 0 | 0 | 30 | 20.6429 | 0 | 21.5078 | 1 | 5 | 0 | 0
Tin Can | 7.1 | 23.1 | 2030 | 1028 | 9.87 | 17.6 | 5000 | 298.65 | 16.5 | 0.7 | 0 | 460.9 | 30.5 | 1 | 10 | 1 | 2 | 1 | 1 | 45 | 17.32 | 1 | 457.4395 | 1 | 5 | 0 | 1
Flour Mill | 6.7 | 27.9 | 2160 | 1093 | 11.2 | 22.9 | 5000 | 230.09 | 23.5 | 0.9 | 0 | 488 | 32.1 | 1 | 96.5 | 1 | 0 | 1 | 1 | 45 | 17.32 | 1 | 652.4061 | 1 | 3.5 | 0 | 1
Ijora | 7.29 | 28.8 | 2260 | 1145 | 11.16 | 23.1 | 10000 | 565.82 | 25 | 1.2 | 0.291 | 485 | 30.7 | 0 | 0 | 1 | 28.5 | 0 | 1 | 45 | 40.02 | 1 | 459.7615 | 1 | 3.5 | 0 | 1
Oworo | 6.86 | 27.8 | 630.4 | 317.4 | 0.33 | 66.9 | 10000 | 396.135 | 17.6 | 0.7 | 0.165 | 916.9 | 29.5 | 0 | 0 | 1 | 143.53 | 0 | 1 | 60 | 38.334 | 1 | 929.4521 | 1 | 2 | 0 | 0
Agbowa | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Ijede | 7.9 | 29.4 | 438.6 | 221.6 | 0.24 | 1262 | 5000 | 484.18 | 10.5 | 2.4 | 0.2 | 406.5 | 28.5 | 0 | 0 | 1 | 83.52 | 0 | 1 | 60 | 30.54 | 0 | 976.4887 | 1 | 2 | 0 | 1
Owutu | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
Badagry | 7.6 | 26.7 | 96.3 | 94.5 | 23.1 | 0.09 | 10000 | 361.984 | 20.62 | 0.8 | 0.2 | 693.4 | 27.6 | 1 | 60 | 1 | 93.53 | 1 | 1 | 45 | 33.2 | 1 | 1954.7011 | 1 | 3.5 | 0 | 1